# REPLACEMENT PARTS(continued)-(optional)

###### JETFLOW HANDPIECE REPLACEMENT PARTS

### Part Number 1700-0060

Item	Description	Part No.

A	JETFLOW Handpiece Complete (24v w/ Sensor) 	1700-0060

1	Tip	See tip section

2	Heater & Seal Assy. (24v  60 WATTS) 	6700-1760

4	Glass Tube	6700-3200

5	“S” Baffle 	6700-4100

6	Heater Insulator	6700-3813

7	Heater Retaining Screws	6700-7017

8	Set Screws	6700-7700

9	Seal, Forward	6700-7201

10	Seal, Rear	6700-7200

11	End –cap Retaining Clip	6700-7302

12	End –cap Assembly (Standard)	6700-7300

13	Tubing:  5’ Length	7000-8790

Tubing: 12’ Length	7000-8701

14	Handpiece Assembly (Standard)	6700-0287

15	Power Cord for handpiece w/ Sensor 	4000-8417

16	Hose Clamps 	6700-2002

17	Quick Disconnect	6700-8799

18	Handpiece Insulator	6700-0286